[image: image1.jpg]


[image: image2.jpg]







SPECIFICATION FOR WATER TANKS
5X 10 000 Ltr Water Tanks

32mm Roll pipe

Reducer x6

Nipple x10

Female elbow x4

T-Junction x2

Elbows x 4

Boll valves x5

6x bags of cement

1x tube of crush stone

1x tube of building sand

8x 114 x138m purlins

2 x 230v water pump with 0.75kw controller

32mm x 50m HDPE Roll Pipe

144mm x 38mm x 8 rafters
NTABANKULU LOCAL MUNICIPALITY 


Tel: (039) 258 0056


Fax: (039) 258 0173


Email: info@ntankulu.gov.za


Web: www.ntabankulu.gov.za


ERF 85, Main Street, Ntabankulu, 5130


P.O. Box 234, Ntabankulu, 5130




















